## Slide 1
Fundamentals of Electric Transmission System Planning Short Course
The Art of Planning
(or How to Plan Like a Warrior)
Tracy Rolstad
tlrolstad@gmail.com
March 19-21, 2019
© Tracy Rolstad, 2019
Apologies to
Sun Tzu!

## Slide 2: Education
Tracy Rolstad
  Diploma, Naval War College, College of Naval Command and Staff
  BSEE, University of Idaho
  Nuclear Navy
    Nuclear Operational Prototype (S1C)
    Nuclear Power School (Reactor Operator)
    Electronics Technician School
      Radar, Communications, etc.
  Professional Technical Education
    Too numerous to list…

## Slide 3: Resume…
  Trina Solar
    Senior Manager Transmission and Interconnection
  Grant County PUD
    Principal Planner
  Power System Consultants
    Technical Director
  Avista Corporation
    Senior Power Systems Consultant
  Utility System Efficiencies
    Senior Power Systems Analyst
  The Bonneville Power Administration
    Senior Engineer, System Operations
  The Joint Warfare Analysis Center
    EP Senior Analyst, PACOM Chief of Targets
    Special Technical Operations Action Officer
  Nuclear Navy (Attack Submarines)
    Chief Petty Officer (ETC/SS)
    Engineering Watch Supervisor

## Slide 4: Something Novel About Me

## Slide 5: Surface and Submarines

## Slide 6: Art of Planning Agenda
Challenge long held beliefs
  Gold plating…Ha!
    20th Century vs. 21st Century
      Electricity as a “right”
  Service at end of life must be adequate
    Thus, equipment seems oversized to start
      But only to the ill informed
Provide conceptual tools to plan for tomorrow!
Vocabulary Matters
  We will be talking about words

## Slide 7: Our Method
What you get done in three days?
  Broad examples that lead you to details
  Seminar style of instruction
    Participate!
      You might be up here clicking on PWS
    Ask questions!
      We want feedback
  We will use various cases
    Synthetic cases and snippets of others
      Let's think together

## Slide 8: Celebrate Your Job!
What is your job ultimately?
  As a Planner or Operator that is…
    Any role in the power business
      Class input

## Slide 9: Celebrate Your Job!
What is your job ultimately?
  To be boring!
    You do NOT wasn’t to be noticed!!!!

## Slide 10: Avoid Being the Subject of Books
Excellent Book
  Fair and factual

## Slide 11: Celebrate Your Job!
What is your job ultimately?
  To be boring!
    Defeat the “enemy”
      Who is the enemy?
        Poor or unreliable service (outages)
          Or being the subject of a book!
  We provide a commodity (electricity)
    Virtually indistinguishable from “competitors”
      Except for price
        Be safe, reliable, affordable…
If you know the enemy and you know yourself, your victory will not stand in doubt ~ Sun Tzu

## Slide 12: Boring…but the Greatest!

## Slide 13: Eisenhower
Plans are nothing, planning is everything
  Who taught Eisenhower?

## Slide 14: Marshall
Don’t fight the problem. Decide it!
I don't want you fellows sitting around asking me what to do. I want you to tell me what to do. This is what Planners tell CEO’s…what to do.

## Slide 15: The Best and Simplest Plan Is?
Thoughts?

## Slide 16: The Best and Simplest Plan Is?
Thoughts?
Site generation next to load
  Do this and we can just stop talking right now
    It IS happening!
      And, it isn’t
        People don’t live where the wind blows
        Utility scale solar needs land

## Slide 17: Planning Precepts
Always look at
  Status Quo
    Likely performs poorly
  Direct Approach
    Reconductor/Rebuild existing
  Alternative Approach
    New voltage, new line, new station,etc
"Buy land, they're not making it anymore"

## Slide 18: Planning
Two Kinds
  Operations Planning
    Near term (<12 months)
    You got what you got
      Switches, breakers, limits, and redispatch are the tools
    Think NERC EOP and TOP standards
  Long Term Planning
    > 12 months…Planning for the long haul
      Not even remotely the same viewpoints as Ops Planning
        Except for technical performance under outages
    Money Matters!
    Service Life Matters!
      First Cost vs Holistic Life Cycle Cost
        What IS your amortization period
Don’t be cheap!

## Slide 19: Who Do You Work For?
Investor-Owned Utility
  ROI on Capital (~60/40 equity/debt)
Muni/City/State/Coop/PUD/REA
  Bonds…debt…federal loans
Power Marketing Agency (Federal)
  Borrow from the US Treasury
ISO
  Owns nothing, “operates” everything
RTO
  Owns nothing, “coordinates” everything
Where does your $
come from?

## Slide 20: ISO vs RTO
Go Wikipedia! Texas, of course, is different

## Slide 21: Social Compact
Electric utilities:
  Operate state granted monopolies (electricity or gas)
    Regulated by state utility commissions.
    Invest equity in large capital-intensive equipment (mostly generators)
      Earn a return on their equity investment.
    Franchise service territory
      No true competition historically speaking
        Competitive forces are regulatory in nature
    The business model has been “invest in equipment, turn the customers’ meters, and earn a steady profit.”
      Past tense!
      Stocks for Widows and Orphans
      Utilities are no longer considered a “safe harbor”

## Slide 22: Prudency (The Federal Viewpoint)

## Slide 23: Investor Owned Utilities
The Three Pillars
  Corporation
    Mostly Employees is what we are talking about
      The “Stewards”
  Share holders
    Up fronted the capital
      Shares (equity)
      And “guarantee” loan repayments
  Ratepayers (i.e. customers)
    Pay for it all
      Safeguarded by elected officials and regulators
        Always a commission somewhere

## Slide 24: Sunk Costs (or…It’s in Rates)
A sunk cost is a cost that has already been incurred and cannot be recovered.
  Mistakes get buried
A sunk cost differs from future costs that a business may face, such as decisions about inventory purchase costs or product pricing.
Sunk costs (past costs) are excluded from future business decisions because the cost will be the same regardless of the outcome of a decision.
  Again, mistakes can get buried
    This is why someone reviews decisions

## Slide 25: Art of Planning Talking Points
Know yourself, know your “enemy”
  Understand the philosophy
    If you disagree
      Change it
      Move on
Be charming and persuasive
Modify plans at any time
Employ only the capable
Never fall in love with your plans
Why not the best?
And better is the enemy of good enough

## Slide 26: Know Yourself & Know Your ”Enemy”
We are heavily regulated
  Do you know the rules that apply to you?
    We just saw what prudency was
      Defined at the federal level
  Federal
    FERC and indirectly NERC
  State(s)
    Commission, ISO, RTO
  Local
    Franchise service area, etc.
This lovely child crushed
the federal government
Click the Pic!

## Slide 27: Charming and Persuasive
You decide!
BPA PM looks ill…poor Mark

## Slide 28: The Real Enemy (bye bye PDCI)

## Slide 29: Federal Energy Regulatory Commission
Empowered by the Congress (We, the People)
  Until 2005 mostly commercial focus
    Interstate commerce clause
    What happened in 2005?
      It actually happened in 2003…

## Slide 30: Federal Energy Regulatory Commission
Empowered by the Congress (We, the People)
  Until 2005 mostly commercial focus
    Interstate commerce clause
    What happened in 2005?
      It actually started in 2003…
      Energy Policy Act of 2005
        Mandatory Reliability Standards
          Via NERC

## Slide 31: A Rabbit Hole for Deep Background
Credits to Chris Lum (former colleague) for these slides on NERC

## Slide 32: The Race to Illumination
The war of the electric currents
  -Edison’s proposed DC system (Pearl Street Station) 110V
  -Tesla’s AC System the bid for 1893 World Fair in Chicago
  -The Niagara Falls Power Project
Tesla’s AC system won in the end
  -The ability for off-site generation
  -The ability to change voltage levels
  -DC was not as flexible
Notes: Edison’s DC had the head start, until the creation of the AC motor, and Transformer. DC plant operated at 110VDC. Sites needed to be close to load centers. AC pushed ahead due to the ability for off site generation, and the flexibility of voltage operating ranges. Energy could be generated at one voltage, stepped up to reduce the line current, sent to another location, and reduced to another operating voltage at the load. DC did not have this ability.

## Slide 33: The War of Weird Things…and People
Tesla was an interesting character
  He loved pigeons
  He had some interesting practices
An interesting invention came out of this “war”
  Edison’s public demonstration of AC led to The Electric Chair
  The term “Westinghoused”

## Slide 34: A Time Line
The Early 1900’s
Mid 1900’s
1960+
Small AC and DC systems were constructed in dense areas
By 1920’s, nearly every city had a single utility.
FPC formed in 1920’s
Vertical Integration
By 1940 all states formed regulatory commissions
Utilities begin to interconnect systems in regions
Larger generation requirements led to new power plants
Electrification of rural areas
Fast expansion of “the grid”
Region-Region links begin
Midwest integrates into a single inter-regional grid
H.E Power on the Columbia River and elsewhere drive network development in the West
No reliability controls to speak of
Notes: Expansion of the grid really took off from WWI through the mid 60’s. Due to massive growth, power companies could barely build generation sites and transmission fast enough to meet the load requirements. Into the 60’s, the grid was operating at near capacity, with often little reserves available. It was only a matter of time before there was a malfunction on a power system.

## Slide 35: The “Reliability” Crisis
A rather unanticipated risk of large power networks was the likelihood of a large-scaled outage dramatically increased
By the late 1960’s the system was operating near capacity
The Great Northeast Blackout of 1965 put the spotlight on the issue of reliability
  One minor equipment failure had a domino effect on the entire system
  30 million people out of power
Notes: 1.)The assumption was that because the system was interconnected on such a large scale, it was essentially black-out proof.
2.) The twenty-three member companies operating the grid (CANUSE) were still convinced that the system was built to adequate reliability standards due to the fact that they out entire power plants out of service for maintenance without any disruption in power service. In the outage of 1965, the built-in backup was built far beyond

## Slide 36: The “Reliability” Solution
Following the 1965 blackout, there was a large backlash on utilities
  Customer outcry
  People began to question dependency on large power systems
Worried about the prospect of govt. regulation, utilities founded the National Electric Reliability Corporation (NERC)
  And the various Coordinating Councils
  LBJ was very powerful
    Fix it said, or I will…
    The Feds had to fix it after all
      2007 NERC stds in play
        Mandatory
Notes: U.S. Electric Power Reliability Act of 1967 proposes the creation of a council on power coordination. Although not enacted, the proposed legislation was what really drove the creation of NAERC.

## Slide 37: The 40-Year Fallout
NERC Implements voluntary agreements to fine utility companies
1977 New York Blackout Occurs
  Limited reliability legislation ensues, allowing voluntary agreement to standards
  Realization that power outages have effects beyond the lights not turning on
Notes:   -9 regional reliability organizations formalized
-Voluntary operating and coordinating guidelines are implemented

## Slide 38: The 40-Year Fallout
1977 Outage
1996 Outage
2003 Outage
New York City blackout occurs
Leads to first limited reliability provision in Fed. Govt.
Enables Govt. to propose voluntary standards
Two major blackouts in Western U.S.
WSCC develops Reliability Standards System
Member utilities voluntarily agree to pay fines to WSCC for reliability Violations
Still no Federal Regulation
Worst blackout to date in U.S. occurs
Task force is put together to investigate outage
Final report concludes that to prevent future blackouts, govt. needs mandatory reliability standards.
You had your chance!
Notes: Western Systems Coordinating Council

## Slide 39: This Was Totally Avoidable!
Northeast Blackout of 2003
  10 Million people in Ontario, Canada
  45 million people in eight U.S. states
Hubris is not attractive
  Bunnies are though!

## Slide 40: Mandatory Reliability Standards
Version 0 Reliability Standards
  In 2004, NERC begins translating it’s operating policies in to 90 measurable standards
Energy Policy Act of 2005
  Authorizes the creation of a Electric Reliability Organization w/ oversight from NERC
2006 – NERC Files an application with FERC to become ERO in U.S.
2007 – NERC has been certified by FERC and reliability standards become mandatory for all Utilities

## Slide 41: Summary on NERC Standards
Federal Regulation was ultimately due to utilities not getting it done on their own
Studies
Do!

## Slide 42: FERC Landmark Orders
It is literally a thing!
  https://www.ferc.gov/legal/maj-ord-reg.asp?csrt=16665937672332480749

## Slide 43: Some Notable FERC Events
1977
  DOE Organization Act
    Forms DOE
    FPC becomes FERC
    PMA’s leave Interior
    WAPA formed
      Bureau lost transmission
1978
  Public Utilities Regulatory Policies Act (PURPA)
    Allows NUG’s to plug in (avoided cost rates)
      This is ground breaking
        But not overly effective
1996
  Order 888
    Why was 888 chosen?
    Open Access!
      OATT’s come from 890
  Order 889 (OASIS)
1999
  Order 2000
    Facilitates RTO Formation
2000
  Order 638
    Standards of Conduct
2003
  Order 2003
    Standardizes LGIA
      Order 2006 for SGIA
2005
  Order 661 (Wind is different)
2007
  Order 667 repeals PUHCA
  Order 693
    Mandatory Reliability Standards
  Order 697
    Market Power Studies

## Slide 44: Order 693 and NERC Reliability Standards

## Slide 45: Know Yourself

## Slide 46: Employ Only the Capable
People, Parts, Processes, and Programs
  People: Planning should be the pinnacle of a career
    Sadly, it has trended towards being a starting place
      This course is here to help!
  Parts: Think for the long haul
    Uncertainty rules
  Processes: Write it down!
    The NERC Compliance Machine needs to be fed
      Documentation is the hallmark of Professionalism
  Programs: Software
    We are fans of PWS!

## Slide 47: Capable People
Electrical Engineers with Power Emphasis
  Lets hope your employer values you
    The Electrical Engineering is easy
      Knowing the battle field is not!
    This course is designed to help you perform ”IPB”
      Intelligence Preparation of the Battlefield

## Slide 48: Capable Parts
Why not the Best
  Jimmy Carter’s Book
    Heavily influenced by Hyman Rickover
Better is the Enemy of Good Enough?
  The “Gold plating” view of the 20th century
    You know, those people that thought blackouts every 5 to 10 years was ok

## Slide 49: Capable Parts: Station Designs
Single Bus—Single Breaker
Main and Transfer Bus (Main and Aux bus)
Ring Bus
Breaker and a half
Double Bus—Double Breaker
Why or why would you build Main and Transfer?

## Slide 50: Capable Parts: Station Designs
System Performance Matters
  NERC Standards (TPL-001-4)
    Probability is not really an option
    Breakers are good! More is better…really
      Never mind the inside the station (i.e. breaker statistics) performance
      It’s the outside the station performance that matters
    Specify facility limits for the long haul
      Buy good stuff…plan for growth…plan for higher voltages
      PLAN FOR HIGHER TEMPERATURES!!!
        Stop with 30C ratings!!!
          50C is actually the proper design specification
        Don’t use “magic wind” unless you can empirically support it’s use
      FERC Order 881…

## Slide 51: Capable Parts: Conductor Material
Silver
  The best
    Lots of free e-
Copper
  The practical start
Gold
  $$$$
Aluminum
  Why Al?
Steel
  Strong but rusty
Material | Resistivity | Conductivity
 | ρ (Ω·m) at 20 °C | σ (S/m) at 20 °C
Silver | 1.59×10−8 | 6.30×107
Copper | 1.68×10−8 | 5.96×107
Gold | 2.44×10−8 | 4.1×107
Aluminum | 2.65×10−8 | 3.77×107
Calcium | 3.36×10−8 | 2.98×107
Tungsten | 5.60×10−8 | 1.79×107
Zinc | 5.90×10−8 | 1.69×107
Nickel | 6.99×10−8 | 1.43×107
Iron | 9.7×10−8 | 1×107
Platinum | 1.06×10−7 | 9.43×106
Tin | 1.09×10−7 | 9.17×106
Carbon steel (1010) | 1.43×10−7 | 6.99×106
Lead | 2.20×10−7 | 4.55×106
Titanium | 4.20×10−7 | 2.38×106
Stainless steel | 6.90×10−7 | 1.45×106
Carbon (amorphous) | 5×10−4 to 8×10−4 | 1.25×103 to 2×103
Sea water | 2.00×10−1 | 4.8
Drinking water | 2×101 to 2×103 | 5×10−4 to 5×10−2
Silicon | 6.4×102 | 1.56×10−3
Wood (damp) | 1×103 to 1×104 | 10−4 to 10−3
Deionized water | 1.80×105 | 5.50×10−6
Glass | 1×1011 to 1×1015 | 10−15 to 10−11
Carbon (diamond) | 1×1012 | ~10−13
Hard rubber | 1×1013 | 10−14
Air | 109 to 1015 | ~10−15 to 10−9
Wood (oven dry) | 1×1014 to 1×1016 | 10−16 to 10−14
Teflon | 1×1023 to 1×1025 | 10−25 to 10−23

## Slide 52: Capable Parts: Aluminum Wire
Why Aluminum?
  Third most abundant element on the planet (O2 & Si)
    Ironically it took electrification to make it extractable
  It is lightweight
    This matters
  Self passivating surface
    Aluminum Oxide is an insulator
      But so thin we don’t care
  Pay by the pound
    Don’t be cheap
      If you want long life
        Under N-1-1 conditions
          Or more…
Pounds Per Cubic Foot
Aluminum 168.48
Zinc 445.30
Steel, Cast/Rolled 490.00
Iron 491.09
Copper 559.87
Silver 654.91
Gold 1206.83
Platinum 1339.20

## Slide 53: Capable Parts: ACSR/AACC/ACSS
All things Aluminum
  ACSR
    Birds
  ACSR/TW
    NW Rivers
      Why?
Transmission lasts >100 years…it should perform adequately at amortized EOL.
Go big or go home!

## Slide 54: Capable Programs: Shout to Bill Tinney
BPA Great
  IPF Software
PECO
PSS/e
PSLF
Power Factory
NEPLAN
PowerWorld Simulator
  We will be using this
Power flows…load does not
  Words matter: Reactive Power sure isn’t Imaginary
    Want to try passing 1000 Amps of reactive current through yourself? Let's refer to it as reactive power thanks…

## Slide 55: Capable Programs: The Past

## Slide 56: What we will use…

## Slide 57: Oh, the Studies You’ll Do
NERC Compliance
FERC Compliance
GUP
  What is GUP?
Studies
Do!

## Slide 58: Good examples abound (look at OASIS)

## Slide 59: Questions?