## Slide 1
Fundamentals of Electric Transmission System Planning Short Course
The Role of Regional Planning Organizations
Tracy Rolstad

## Slide 2: Remember This Slide!
What is your job ultimately?
  To be boring!
Regional Planning is all about this
Plus, FERC sad we weren’t very good at it…
  They were right by the way
  So, they fired out a NOPR flowed by an Order
    What is an NOPR?

## Slide 3: Regional Planning Works Because?
What is your job ultimately?
  To be boring!
    Defeat the “enemy”
      Who is the enemy?
        Poor or unreliable service (outages)
  We provide a commodity (electricity)
    Virtually indistinguishable from “competitors”
      Except for price
        Be safe, reliable, affordable…
If you know the enemy and you know yourself, your victory will not stand in doubt ~ Sun Tzu

## Slide 4: The 40-Year Fallout
1977 Outage
1996 Outage
2003 Outage
New York City blackout occurs
Leads to first limited reliability provision in Fed. Govt.
Enables Govt. to propose voluntary standards
Two major blackouts in Western U.S.
WSCC develops Reliability Standards System
Member utilities voluntarily agree to pay fines to WSCC for reliability Violations
Still no Federal Regulation
Worst blackout to date in U.S. occurs
Task force is put together to investigate outage
Final report concludes that to prevent future blackouts, govt. need's mandatory reliability standards.
You had your chance!
Notes: Western Systems Coordinating Council

## Slide 5: Mandatory Reliability Standards
Version 0 Reliability Standards
  In 2004, NERC begins translating it’s operating policies in to 90 measurable standards
Energy Policy Act of 2005
  Authorizes the creation of a Electric Reliability Organization w/ oversight from NERC
2006 – NERC Files an application with FERC to become ERO in U.S.
2007 – NERC has been certified by FERC and reliability standards become mandatory for all Utilities
Now NERC Standards are a cottage industry made from nothing!

## Slide 6: Some more Notable FERC Events
1965
  Formation of NERC and Coordinating Councils
    They were supposed to do regional planning
      I would say they failed
1999
  Order 2000
    Facilitates RTO Formation
2010
  Order 1000
    Right…Order 1000 came after Order 2000
      Truly FERC’s naming convention is unknowable
  Order 1000 reforms Order 890
    Remember 890? Feb 2007

## Slide 7: FERC Order 890
Among other things it was trying to:
  Require transmission providers to participate in a coordinated, open and transparent planning process on both local and regional levels. A description of the planning process must be included in the OATT.
    It was found to be lacking…hence Order 1000.

## Slide 8: FERC Order 1000
Planning Reforms The rule establishes three requirements for transmission planning:
  Each public utility transmission provider must participate in a regional transmission planning process that satisfies the transmission planning principles of Order No. 890 and produces a regional transmission plan.
  Local and regional transmission planning processes must consider transmission needs driven by public policy requirements established by state or federal laws or regulations. Each public utility transmission provider must establish procedures to identify transmission needs driven by public policy requirements and evaluate proposed solutions to those transmission needs.
  Public utility transmission providers in each pair of neighboring transmission planning regions must coordinate to determine if there are more efficient or cost-effective solutions to their mutual transmission needs.
  https://www.ferc.gov/industries/electric/indus-act/trans-plan.asp

## Slide 9: Visual of the Outcomes (circa 2018)

## Slide 10: Regional Planning Organizations
What do they do?
  Intra-regional planning
  Cost allocation environment
  ”Long staple” through members plans
    They are independent Planners so if they see an issue they will pursue a solution through their respective agreements
  Case building generally happens here
  Provide another forum for public transparency
  Perform Production Cost modeling work regionally
  ISO/RTO markets don’t have RPO’s
    They ARE an RPO

## Slide 11: Where you won’t hear about RPO’s
Unless you broaden your view
  Look past Order 1000
    NERC serves a role
      And RPO’s care about
The “balkanized” West
  CAISO is a well-oiled machine
  The Northwest is a mess
    BPA has federal law that limits their ability to play in an ISO/RTO
      This mess is 20 years old
        Have I mentioned inverse dog years?

## Slide 12: Columbia Grid (replaced by NorthernGrid)
Outstanding staff and work (deep experience)
  Oddly, only Avista and Puget must belong
    Everyone else is NOT FERC jurisdictional
      Do you know what that means?
Outcomes
  Area coordination (open & transparent)
  Transparency to the public at large
    Open meetings…very useful
  Studies and workshops
    PNW non-wires meeting for example
      Provides messaging to state capitals
  Peer groups that function better than at WECC

## Slide 13: Might Not Be Available Except for CG
https://www.bpa.gov/transmission/CustomerInvolvement/AttachmentK/Documents/2018-BPA-Transmission-Plan-Final.pdf

## Slide 14: NorthernGrid Plans
https://www.northerngrid.net/private-media/documents/2022-23_Regional_Transmission_Plan.pdf

## Slide 15: Example RPO Work Products (=2 FTE)
Compliance
Note that NorthernGrid
performs a notably
different role than did
ColumbiaGrid.
Focus is on Production Cost
Modeling.
RPO’s can and will come and
go. Organizational change
happens…

## Slide 16: CAISO
The Duck Curve
  It was an RPO thing first…openness is good!

## Slide 17: Compliance and the RPO
RPO’s help us comply with NERC Standards
MOD-033, PRC-026, TPL-007
  Done by our RPO
  MOD-033 is so well done non-members use it
RPO’s provide communication we needed
  We NEVER communicated this well
    See “duck curve” slide
We learn from each other
  Utilities really don’t compete with each other
Only down side is the cost

## Slide 18: Example RPO’s (some are ISO’s)
CAISO
  www.caiso.com
ERCOT
  http://www.ercot.com/
WestConnect
  http://www.westconnect.com/
AESO
  www.aeso.ca
Goldmines of professionally relevant
educational and practical documentation.
If you are subject to an ISO/RTO you HAVE
to follow their rules. Still planning like a
warrior? Know your “enemy.”

## Slide 19: Economist Influencers
One of the influencers around electricity markets
  And thus ISO/RTO/RPO, etc.
    Not sure that RTO’s and ISO’s lower costs

## Slide 20: Take Away’s
Planning is NOT just Electrical Engineering’
  Honestly, the engineering is the easy part
Everyone seems to have opinion!
  Utility Planners need to be engaged

## Slide 21: Questions?